## Slide 1: RELIEVE-HF: A Double-Blind Randomized Placebo Procedure Controlled Trial of an Interatrial Shunt in Patients with HFrEF and HFpEF
RESULTS: The transcatheter implantation of the Ventura inter-atrial shunt proved to be safe; however, it did not lead to symptom reduction or improved prognosis over a two-year period in patients with heart failure, regardless of their left ventricular ejection fraction. (LVEF). |  |  |  |  |  | 
PURPOSE: To assess the safety and effectiveness of the V-Wave Ventura IAS device in symptomatic HF patients with any LVEF. |  |  |  |  |  | 
TRIAL DESIGN: A double-blind, randomized, placebo procedure-controlled, multicenter trial. |  |  |  |  |  | 
 | LVEF ≤40% |  |  | LVEF >40% |  | 
2 –year rates | Shunt group (N=101) | Placebo group (N=108) | RR or HR (95% CI) | Shunt group (N=149) | Placebo group (N=153) | RR or HR (95% CI)
All events | 76/155.2 (49.0%/year) | 134/151.2 (88.6%/year) | 0.55 (0.42, 0.73) P<0.0001 | 143/237.5 (60.2%/year) | 88/2450 (35.9%/year) | 1.68 (1.29, 2.19) p=0.0001
All cause death | 13 (14.3%) | 20 (26.8%) | 0.63 [0.31, 1.26] p=0.19 | 22 (16.4%) | 7 (5.2%) | 3.24 [1.38, 7.59] p=0.004
LVAD/HT | 1 (1.5%) | 6 (9.0%) | 0.16 [0.02, 1.32] p=0.051 | 0 (0.0%) | 0 (0.0%) | -
Key Takeaways: The study showed that transcatheter implantation of inter-atrial shunt was safe in patients, but no symptom reduction was observed or improvement of prognosis through 2 years in patients with HF across the full range of all LVEF. |  |  |  |  |  | 
Presented by Gregg W. Stone MD, Mount Sinai Hospital, NY, USA. ACC 2024.
© 2024, American Heart Association. All rights reserved. Results reflect the data available at the time of presentation.
Professional Heart Daily @AHAScience